## Slide 1
The idea is to be able to enable selection of particles from the accelerator (on 53 MHz timing) at the with the
same relationship to a 40 MHz (approximately) clock.
318 MHz
53 MHz
0
1 ……
26.5 MHz
13.25 MHz
26.5 MHz: External clock
318 MHz, 39.75 MHz, and 13.25 MHz clocks are derived vis MMCM from 26.5 MHz clock
22
23
0
1
Segment selection index
39.75 MHz

## Slide 2
A new version of the segment selector has been written with 24 segments. Any combination of the 24 segments can be
selected (by writing 24 bits of a 32 bit word to address 18008.
It is assumed that a 26.5 MHz clock is externally supplied. This is ½ the rate of the accelerator clock.
In the firmware, clock managers generate the following from this 26.5 MHz reference:
A 13.25 MHz clock
A 39.75 MHz clock (not really used anywhere now but could be distributed to other equipment)
A 318 MHz clock (replacing the 320 MHz clock in the original firmware). This is the clock that determines Delay and Width
timing in the D-W processing blocks and also defines the segment duration for the 24 segments of the synchronized pair
of 39.75 MHz and 26.5 MHz.

## Slide 3
The idea is to be able to enable selection of particles from the accelerator (on 53 MHz timing) at the with the
same relationship to a 40 MHz (approximately) clock.
318 MHz
53 MHz
0
1 ……
26.5 MHz
13.25 MHz
26.5 MHz: External clock
318 MHz, 39.75 MHz, and 13.25 MHz clocks are derived vis MMCM from 26.5 MHz clock
22
23
0
1
Segment selection index
39.75 MHz
Problem – the position of the particles is not aligned to the rising edge of the 39.75 MHz clock…

## Slide 4
The idea is to be able to enable selection of particles from the accelerator (on 53 MHz timing) at the with the
same relationship to a 40 MHz (approximately) clock.
318 MHz
53 MHz
0
1 ……
26.5 MHz
13.25 MHz
26.5 MHz: External clock
318 MHz, 39.75 MHz, and 13.25 MHz clocks are derived vis MMCM from 26.5 MHz clock
22
23
0
1
Segment selection index
39.75 MHz
Solution(?) – adjust the phase of the 39.75 MHz clock